**Test Case 1: Happy Path**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Test Case 1: Happy Path** | | | | | | | |
| **Step No.** | **Test steps : Actions** | **Expected Results** | **TO ID** | **Pump Type** | **Rule Id#** | **Result**  **(P/F/NA)** | **Automation (Y/N)** |
| 1.1 | Observe the Drug Library Information window. | Verify that there are no default values for the displayed fields. |  | All | ED\_001 ED\_002 ED\_003 ED\_004 ED\_005 ED\_006 ED\_007 |  |  |
| 1.2 | Try to save the drug library without entering any information. | Verify that the system does not allow saving. | SYRSTO- 69 | All | EDRL\_RequiredParameter ED\_001 ED\_002 ED\_003 ED\_004 |  |  |
| 1.5 | Observe the units for the Patient Weight and Patient BSA fields. | Verify that Patient Weight fields have unit Kg and Patient BSA fields have unit m². | SYRSTO- 66  SYRSTO- 68 | All | ED\_002 ED\_003 ED\_004 ED\_005 ED\_006 ED\_007 |  |  |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Test Case 2: Happy Path 2** | | | | | | | |
| **Step No.** | **Test steps : Actions** | **Expected Results** | **TO ID** | **Pump Type** | **Rule Id#** | **Result**  **(P/F/NA)** | **Automation (Y/N)** |
| 1.1 | Observe the Drug Library Information window. | Verify that there are no default values for the displayed fields. |  | All | ED\_001 ED\_002 ED\_003 ED\_004 ED\_005 ED\_006 ED\_007 |  |  |
| 1.2 | Try to save the drug library without entering any information. | Verify that the system does not allow saving. | SYRSTO- 69 | All | EDRL\_RequiredParameter ED\_001 ED\_002 ED\_003 ED\_004  ED\_400  ED\_500  ED\_600 |  |  |
| 1.5 | Observe the units for the Patient Weight and Patient BSA fields. | Verify that Patient Weight fields have unit Kg and Patient BSA fields have unit m². | SYRSTO- 66  SYRSTO- 68 | All | ED\_002 ED\_003 ED\_004 ED\_005 ED\_006 ED\_007 |  |  |